## Energy Effic Compare
ENERGY COSTS FOR DIFFERENT IRRIGATION SYSTEMS AND EFFICIENCIES
|  | Average energy cost/kwh over season: | 0.14
Crop: Almonds |  | Acreage: | 150 |  | Crop ET (in): | 52
Old pump flow (gpm): | 1100 |  |  |  | Deep Well Pumping Level (ft): | 220
Improved flow (gpm): | 1400
Example: Border (Old) shows data and energy costs that are often found in old systems.
Border (Potential) shows data and costs after reasonable improvements.
[5 empty] | MICROSPRINKLER (FANJET) |  | Blake Sanden
| BORDER |  | DRIP |  |  |  | Irrigation & Agronomy Farm Advisor
| (Old) | (Potential) | (Old) | (Potential) | (Old) | (Potential) | University of California Cooperative Extension
Pumping Efficiency | 50% | 65% | 50% | 65% | 50% | 65% | 1031 S. Mt Vernon Ave.
Distribution Uniformity | 70% | 85% | 80% | 93% | 80% | 90% | Bakersfield, CA 93307
Required Water (in) | 74.2857 | 61.1765 | 65 | 55.914 | 65 | 57.7778 | (661) 868-6218
Total Water (ac-ft) | 928.5714 | 764.7059 | 812.5 | 698.9247 | 812.5 | 722.2222 | (661) 868-6208 (fax)
Water Saved (ac-ft) |  | 163.8655 |  | 113.5753 |  | 90.2778 | blsanden@ucdavis.edu
Hours On for Season | 4586.2143 | 2967.5504 | 4012.9375 | 2712.2773 | 4012.9375 | 2802.6865
Booster Pressure (psi) | 0 | 0 | 35 | 45 | 35 | 45
Booster HP Reqd | 0 | 0 | 44.9167 | 56.5385 | 44.9167 | 56.5385
Well HP Reqd | 122.2222 | 119.6581 | 122.2222 | 119.6581 | 122.2222 | 119.6581
Booster KWH/ac-ft | 0 | 0 | 165.4313 | 163.6134 | 165.4313 | 163.6134
Well KWH/ac-ft | 450.1533 | 346.2718 | 450.1533 | 346.2718 | 450.1533 | 346.2718
Total Booster KWH | 0 | 0 | 134412.9575 | 114353.4555 | 134412.9575 | 118165.2374
Total Well KWH | 417999.4792 | 264796.0502 | 365749.5443 | 242017.8953 | 365749.5443 | 250085.1585
Total Energy Cost | 58519.9271 | 37071.447 | 70022.7503 | 49891.9891 | 70022.7503 | 51555.0554
Potential Annual Savings |  | 21448.4801 |  | 20130.7611 |  | 18467.6948